## Microsomal Membrane
Tissue Prep Protocol
Microsome/Membrane enrichment (No Microsome Wash)
last updated 5/15/2006
Buffers:
Note: Add 1X Protease Inhibitor Cocktail (Roche EDTA-free P.I. cocktail tablets)
to all buffers, immediately before use.
1) | PBS = Phosphate Buffered Saline, Ca++/Mg++ Free, (Gibco #14190-136)
2) | Lysis Buffer:
0.25 M Sucrose
20 mM TRIS, pH 7.5
200 mM NaCl
1 mM MgCl2
3) | Acid Wash Buffer
1M Na Acetate, pH 4.6
4) | 2X ICAT Buffer (No Urea)
0.4 M TRIS pH 8.3
10 mM EDTA
0.2 % SDS
Don’t Add P.I’s to this buffer
Tissue Prep Protocol
Microsome/Membrane enrichment (No Microsome Wash)
1) | Tissue Disruption
| a. | Wash tissue 2X with 5 ml PBS + P.I.’s at RT, remove as much of the waxy Tissue-TEK reagent as possible.
| b. | Cut tissue into small (~3x3 mm) pieces. Then wash again with RT PBS + PI’s.
| c. | Make a final wash of tissue pieces in 3-4 ml of Lysis Buffer. Let tissue sit in this final rinse on ice for a few minutes while the other tissue is processed.
| d. | Aspirate Lysis Buffer. Transfer pieces to a pre-weighed 14 ml snap cap tube, and weigh. |  |  | wt. =
| e. | Add ice cold Lysis buffer to tissue, ~2 ml.
| f. | Disrupt tissue with Polytron, Speed 0-1, for 1 min.
| g. | Filter homogenate thru 40 um nylon strainer
| h. | Wash screen with lysis buffer
| i. | Remove large tissue chunks from strainer and polytron and return to 14 ml snap cap. Add ~ 2 ml lysis buffer and disrupt tissue again, Speed 1, for 1 min.
| j. | Filter homogenate through strainer and wash again.
| k. | Repeat i.-j. until there are no large tissue chunks left, using a polytron speed of 2-3 for the remaining disruptions.
2) | Spin Homogenate
| a. | Centrifuge Homogenate at 500 x g, 8 min.
Save both the pellet (=P1b) and supn. (= S1a) for further processing.
3) | Pellet Membranes in Supn. S1a, then perform Acid Wash.
| a. | Spin S1a in JA-17, 10,000 rpm, 20 min to pellet membrane sheets generated during low speed disruption.
| b. | Resuspend membrane pellet in ~5 ml Lysis Buffer….Dounce to homogenize
| c. | Add 1/20 (250 ul to 5 ml) of 1M NaAcetate pH 4.6 and dounce immediately 6-8X
| d. | Pellet washed membranes in JA-17, 10,000 rpm, 20 min. (=13,800xg).
| e. | Force membrane pellet thru 25g needle several times to lyse any small cells that remain. This resuspended pellet will be pooled with other membranes later.
4) | Lyse Cells from Pellet 1 (= P1b)
| a. | Resuspend P1b in lysis buffer.
| b. | Check cells by microscopy, count cells.
| c. | Lyse cells by forcing them through a 1.5”, 25 gauge needle. Pull up cells into syringe and force out quickly.
| d. | Spin Lysate, 500 x g, 5 min. to pellet nuclei and unlysed cells. Save supnernatant (=S2b) for further processing, transfer to 14 ml snap cap.
| e. | Resuspend unlysed cells in lysis buffer.
| f. | Repeat c.-d. until most the cells have lysed.
| g. | Save the Cells and Nuclei that don’t lyse at –80C.
| h. | Pool all of the supn.’s collected from the lysis. Pellet the membrane sheets liberated during this lysis by centrifuging; 10,000 rpm in JA17 rotor, 20 min., 4C.
5) | Dounce Membrane Pellets
| a. | Pool all of the membrane pellets from S1a, and S2b+S3b into 7 ml dounce resuspending in lysis buffer.
| b. | Homogenize the pooled membrane pellets; ~8X (up/down stroke = 1) using tight pestle (B). Transfer to 15 ml Conical tube. Rinse the dounce 1X and add to tube.
| c. | Spin out nuclei, 400 x g, 5 min.
| d. | Transfer supn. to SW55 centrifuge tube.
| e. | Rinse the pellet 1X with ~1 ml lysis buffer, spin 400 x g, 5 min.
| f. | Add Supn. to SW55 centrifuge tube.
6) | High Speed Spin #1
| a. | Centrifuge Sample, 40,000 rpm, 1 hr., 4C in SW55 rotor..
| b. | Resuspend pellet in 2X ICAT buffer = M fraction (Microsomes)
Optional:
Buffer
High pH Wash
100 mM Na2CO3, pH 11.5
7) | Wash Microsome pellet with High pH buffer
| a. | Resuspend microsome pellet from HSS-1 in small volume of water (~500 ul), and transfer to dounce. Rinse tube with 100 mM Na2CO3, pH 11.3, (~500 ul).
| b. | Add 50 mM Na2CO3, pH 11.3 to dounce so that volume is 3-4 ml.
| c. | Dounce 10X with tight pestle (B).
8) | High Speed Spin #2
| a. | Transfer washed Microsomes to SW55 Ultracentrifuge tube. Rinse dounce with 50mM Na2CO3, pH 11.3.
| b. | Centrifuge sample, 40,000 rpm, 50 min, 4C in SW55 rotor.
| c. | Save supn as MW fraction (Microsome Wash Supn.)
| d. | Resuspend pellet in 2X ICAT buffer = M fraction (Microsomes)
Microsomal membran enrichment protocol
last updated 2002
25 x Protein inhibitor (PI, Complete EDTA free, Roche 1873580):
|  | 1 pill in | 2 pills in
|  | 2ml H2O | 4ml H2O
Lysis buffer*
stock sol. |  | µl | µl | final conc.
1M | Tris 7.4 | 400 | 800 | 20mM
1M | MgCl2 | 20 | 40 | 1mM
1M | CaCl2 | 20 | 40 | 1mM
5M | NaCl | 80 | 160 | 20mM
25 x | PI | 800 | 1600 | 1x
| H2OmilliQ | 18.68ml | 37.36ml
| Total | 20ml | 40ml
*contains no DTT because this might interfere with subsequent ICAT labeling (additional -SH groups)
- | cells were resuspended in ~108 cells/2ml lysis buffer and incubated on ice for 20min
- | lysis with 3ml syringe and 25 gauge needle:
~80 total passes through needle (40 up and 40 down) with intermittent icing resulted in ~90% lysis
- | low speed spin @ 1000g for 5 min
- | resuspend pellet in lysis buffer and repeat low speed spin (1000g for 5miN)
- | combine supernatants for high speed spin: 35000rpm (~100000 x g) for 60min at 4oC
- | the pellet is the microsomal membrane enriched fraction
Supn. 1
Lyse Cells
25 G needle
Low Speed Spin:
500 x g, 8 min.
Pellet 1
Supn. 3
(Albumin)
Pellet 3
(Membrane)
Supn. 2
Pellet 2
(Membrane sheets
+small vessicles)
Acid Wash
pH 5
Membrane
Pellet
Supn. 3
Pellet 3 (Nuclei/Cells)
Pool Lysate Supn.s
Repeat Until
> 80% lysis
Supn. 2
Pellet 2
(Nuclei/Cells)
Membrane
Disrupt Tissue With Polytron Homogenizer (Speed 0-2)
And strain thru 40um filter
Pool
Spin down Nuclei (400xg, 5 min)
Collect Membrane rich Supn.
Dounce Membrane Pool
High Speed Spin
100,000 x g
Membrane
pool
Microsome
Pellet
Fast Spin
13,000 x g, 20 min
Fast Spin:
13,000 x g, 20 min
Lyse Cells
25 G needle (10 passes)
Low speed spin
500 x g, 5 min
Lyse Cells
25 G needle (10 passes)
Low speed spin
500 x g, 5 min
Fast Spin
13,000 x g, 20 min
pH 11 wash
Optional
Supn. MW
Pellet M

## plasma membrane enrichment
Tissue Prep Protocol
Plasma Membrane enrichment
last updated 2002
25 x Protein inhibitor (PI, Complete EDTA free, Roche 1873580):
|  | 1 pill in | 2 pills in
|  | 2ml H2O | 4ml H2O
Lysis buffer*
stock sol. |  | µl | µl | final conc. | 0.4 | ml | 0.8 | ml
1M | Tris 7.4 | 400 | 800 | 20mM | 0.02 | ml | 0.04 | ml
1M | MgCl2 | 20 | 40 | 1mM | 0.02 | ml | 0.04 | ml
1M | CaCl2 | 20 | 40 | 1mM | 0.08 | ml | 0.16 | ml
5M | NaCl | 80 | 160 | 20mM | 0.8 | ml | 1.6 | ml
25 x | PI | 800 | 1600 | 1x | 18.68 | ml | 37.36 | ml
| H2OmilliQ | 18.68ml | 37.36ml |  | 20 | ml | 40 | ml
| Total | 20ml | 40ml
Lysis buffer* + 41% Sucrose
stock sol. |  | µl | µl | final conc. | 0.2 | ml | 0.4 | ml
1M | Tris 7.4 | 200 | 400 | 20mM | 0.01 | ml | 0.02 | ml
1M | MgCl2 | 10 | 20 | 1mM | 0.01 | ml | 0.02 | ml
1M | CaCl2 | 10 | 20 | 1mM | 0.04 | ml | 0.08 | ml
5M | NaCl | 40 | 80 | 20mM | 0.4 | ml | 0.8 | ml
25 x | PI | 400 | 800 | 1x | 6.73 | ml | 13.66 | ml
60% | Sucrose | 6.83ml | 13.66ml | 41% | 2.61 | ml | 5.02 | ml
| H2OmilliQ | 2.61ml | 5.02ml |  | 10 | ml | 20 | ml
| Total | 10ml | 20ml
*contains no DTT because this might interfere with subsequent ICAT labeling (additional -SH groups)
- | cells were resuspended in ~108 cells/2ml lysis buffer and incubated on ice for 20min
- | lysis with 3ml syringe and 25 gauge needle:
~80 total passes through needle (40 up and 40 down) with intermittent icing resulted in ~90% lysis
- | the homogenate is overlayed over 2ml Lysis buffer + 41% sucrose
- | high speed spin: 35000rpm (~100000 x g) for 60min at 4oC
- | the membrane fraction, floating in the upper part of the sucrose cushion, is removed (~800µl) and mixed with ~2.5ml lysis buffer
- | second high speed spin: 35000rpm (~100000 x g) for 20min at 4oC
- | the pellet is the plasma membrane enriched fraction

## Nuclear extracts
Nuclear Extracts |  |  | Dignam's solutions
last updated 2002
25 x Protein inhibitor (PI, Complete EDTA free, Roche 1873580):
|  | 1 pill in | 2 pills in
|  | 2ml H2O | 4ml H2O
Solution C
stock sol. |  |  | final conc.
200 mM | HEPES pH 7.9 | 2 ml | 20 mM | (200 mM HEPES(238.3 g/mol): 2.383g in 50ml adjust pH to 7.9) | 2 | ml
100% | glycerol | 5 ml | 25% |  | 5 | ml
1 M | MgCl2 | 30 µl | 1.5 mM |  | 0.03 | ml
500 mM | EDTA | 8 µl | 0.2 mM |  | 0.008 | ml
5 M | NaCl | 1.68 ml | 420 mM |  | 1.68 | ml
25 x | PI | 800 µl | 1 x |  | 0.8 | ml
| H2OmilliQ | 10.48 |  |  | 10.482 | ml
| Total | 20ml |  |  | 20 | ml
1. | resuspend nuclear pellet in solution C (3ml per 10e9 cells): ~150 µl for 5 x 10e7
resuspend with blue tip
2. | stir solution for 30 min at 4oC (with stirr bar)
or add glass beads and vortex at 4oC for 30 min
3. | Spin at 13000 rpm for 20 min at 4oC
I'll do a higher speed spin
high speed spin: 35000rpm (~100000 x g) for 20min at 4oC

## References
Thermo Scientific Pierce Cell Lysis Technical Handbook
http://www.piercenet.com/files/1601757_CellLysis_INTL.pdf
444810 ProteoExtract® Native Membrane Protein Extraction Kit |  | EMDmillipore
Protocol
Compartment Protein Extraction Kit |  | EMDmillipore
http://www.millipore.com/catalogue/item/2145
OptiPrep™ Application Sheets S20
http://www.axis-shield-density-gradient-media.com/A-S2011/S20.pdf
Preparation of Brain Membrane Fractions for Western Blot Analysis
http://www.protocol-online.org/cgi-bin/prot/view_cache.cgi?ID=1553
Sperm membrane protein profiles of fertile and infertile men: identification and characterization of fertility-associated sperm antigen.
Rajeev SK, Reddy KV.
Hum Reprod. 2004 Feb;19(2):234-42.
Separation of caveolae from associated microdomains of GPI-anchored proteins.
Schnitzer JE, McIntosh DP, Dvorak AM, Liu J, Oh P.
Science. 1995 Sep 8;269(5229):1435-9.