## EASYnLC_Consumables
[5 empty] | UNIVERSITY of WASHINGTON |  |  | Proteomics Resource
last updated | 2024-03-01
part # | Description | Qty | unit | unit price | total | vendor
NOTE to use UWPR instruments you need to provide autosampler vials, analytical column and trapping column (materials highlighted below), you can use the UWPR packing station to pack your columns.
Highlighted below are consumables routinely used for bottom up proteomics, but you can customize the columns to your needs, check different vendors etc.
EASYnLC Autosampler vials and caps
03-452-358 | Thermo Scientific™ SureSTART™ 2 mL Polypropylene Snap Top Microvials for <2 mL Samples | 1 | pk of 100 | 15.83 | 15.83 |  | (log in at fishersci.com for UW pricing)
03-452-381 | Thermo Scientific™ SureSTART™ 11 mm Snap Caps, Level 3 High Performance Applications | 1 | pk of 100 | 33.48 | 33.48 |  | (log in at fishersci.com for UW pricing) |  | recommended for use with all autosamplers
14-222-240 | Axygen™ Storage Microplates, P-96-450V-C | 0 | pk of 10 | 16.49 | 0 | Fisher
14-222-326 | Axygen™ 96-well PCR Microplates, PCR-96-FS-C | 0 | pk of 10 | 28.55 | 0 | Fisher
AB1720 | Thermo Scientific™ Easy Pierce Heat Sealing Foil, AB-1720 | 0 | pk of 100 | 113.13 | 0 | Fisher
[9 empty] | 03-452-358 | 03-452-381
VanquishNeo Autosampler vials and caps
03-452-358 | Thermo Scientific™ SureSTART™ 2 mL Polypropylene Snap Top Microvials for <2 mL Samples | 0 | pk of 100 | 15.83 | 0 |  | (log in at fishersci.com for UW pricing)
03-452-381 | Thermo Scientific™ SureSTART™ 11 mm Snap Caps, Level 3 High Performance Applications | 0 | pk of 100 | 33.48 | 0 |  | (log in at fishersci.com for UW pricing) |  | recommended for use with all autosamplers
03-452-550 | Thermo Scientific™ SureSTART™ Total Recovery Glass Screw Top Microvials for <2 mL Samples, Level 3 High Performance Applications 6PSV9TR1 | 0 | pk of 100 | 259.97 | 0 | Fisher
03-452-575 | Thermo Scientific™ SureSTART™ 0.2 mL TPX Screw Top Microvial with Glass Insert for <2 mL Samples, Level 3 High Performance Applications | 0 | pk of 100 | 61.64 | 0 | Fisher
03-452-313 | Thermo Scientific™ SureSTART™ 9 mm Screw Caps, Level 3 High Performance Applications | 0 | pk of 100 | 42.11 | 0 | Fisher
03-452-576 | Thermo Scientific™ SureSTART™ Specification Certified Screw Vial and Cap Kits, Level 3 High Performance Applications 6PK1655 | 0 | pk of 100 | 98.88 | 0 | Fisher
60180P210 | Thermo Scientific™ SureSTART™ WebSeal™ 96-Well Microtiter Plates, Total V-Bottom, Level 2 High-Throughput Applications | 0 | pk of 50 | 472.26 | 0 | Fisher
03-255-008 | Thermo Scientific™ SureSTART™ WebSeal™ 96-Well Deep Well Plates, Round U-Bottom, Level 2 High-Throughput Applications 60180P201B | 0 | pk of 50 | 597.81 | 0 | Fisher
03-252-162 | Thermo Scientific™ SureSTART™ WebSeal™ 96-Well Plate Sealing Mats, 7 mm Diameter, Round, Level 2 High-Throughput Applications, preslit | 0 | pk of 5 | 154.15 | 0 | Fisher
03-252-444 | Thermo Scientific™ WebSeal™ Sealing Tapes with 3 layer no adhesive at cavity area | 0 | pk of 100 | 1409.1 | 0 | Fisher
03-376-618 | Thermo Scientific™ Re-Sealing Tape with 3 layer no adhesive at cavity area | 0 | pk of 25 | 438.65 | 0 | Fisher
03-253-929 | Thermo Scientific™ SureSTART™ WebSeal™ Plate+ 384-Well Microtiter Plates, Square-Rounded V-Bottom, Level 3 High Performance Applications 60180-P340 | 0 | pk of 10 | 553.16 | 0 | Fisher
03-252-439 | Thermo Scientific™ WebSeal™ CLR Silicone Mat, 384 square wells 60180-M150 | 0 | pk of 5 | 154.15 | 0 | Fisher |  | 03-452-358 | 03-452-381 |  | 03-452-550 |  | 03-452-575 |  | 03-452-313 |  | 03-452-576 | 60180P210 | 03-252-444
Analytical and trapping columns
Analytical column fused silica: most common ODxID 360x75 |  | usage ~ 50 cm per column | [5 empty] | different length available: | 10m | 25 m | 50m
1068150019 | Polymicro Flexible Fused Silica Capillary Tubing, Inner Diameter 75µm, Outer Diameter 375µm, TSP075375 | 0 | m | 15 | 0 | Molex / Polymicro | alternate vendor |  | 150 | 325 | 500 | old part number 2000019 |  | http://www.polymicroorders.com |  | http://www.molex.com/molex/products/datasheet.jsp?part=active/1068150019_CAPILLARY_TUBING.xml
50-110-8582 | TSP075375 Flexible Fused Silica Capillary Tubing with Polyimide Coating: 75um ID x 363um OD, spool length of 10m | 1 | 10 m | 190 | 190 | Fisher | (log in at fishersci.com for UW pricing) |  | Search for TSP075375 at the Fisher website to get all the different lengths available
50-110-8602 | TSP075375 Flexible Fused Silica Capillary Tubing with Polyimide Coating: 75um ID x 363um OD, spool length of 25m | 0 | 25 m | 400 | 0 | Fisher | alternate length (log in at fishersci.com for UW pricing)
50-110-7740 | TSP075375 Flexible Fused Silica Capillary Tubing with Polyimide Coating: 75um ID x 363um OD, spool length of 50m. | 0 | 50 m | 610 | 0 | Fisher | alternate length (log in at fishersci.com for UW pricing)
FS-175 | TUBING, FUSED SILICA, 75µm (.003 IN) x 360µm x 2M | 0 | 2m | 127.86 | 0 | Idex/Upchurch | alternate vendor
Trap column fused silica: most common ODxID 360x100 |  | re-usable many times, usage ~30-40 cm per trap column
home made kasil frits | https://proteomicsresource.washington.edu/docs/protocols05/Fritted_Fused_Silica.pdf
50-828-816 | Potassium Silicate, Aqueous Soln, 29.8 Deg. Baume, Pfaltz & Bauer No.:P23830-500g | 1 | ea | 258.76 | 258.76 | Fisher
AC205821000 | Formamide, 99.5%, for analysis, ACROS Organics | 1 | ea | 50.7 | 50.7 | Fisher
OR
NC0263146 | Next Advance Inc KASIL FORMAMIDE FRIT KIT | 1 | ea | 134.36 | 134.36 | Fisher | Use instead of Potassium Silicat and Formamide in row 27-28
50-110-7685 | TSP100375 Flexible Fused Silica Capillary Tubing with Polyimide Coating: 100um ID x 363um OD | 1 | 10 m | 190 | 190 | Fisher | Search the fisher site for TSP100375 to find all available lengths
50-110-8605 | TSP100375 Flexible Fused Silica Capillary Tubing with Polyimide Coating: 100um ID x 363um OD | 0 | 25 m | 400 | 0 | Fisher
50-110-8623 | TSP100375 Flexible Fused Silica Capillary Tubing with Polyimide Coating: 100um ID x 363um OD | 0 | 50 m | 610 | 0 | Fisher
Beads to pack column | [6 empty] | Chemistry | Pore Size | Particle size
r15.aq.0001 | Reprosil-Pur 120 C18-AQ, 5 um 1g | 1 | 1 gr | 206.6 | 206.6 | ESI source solutions | C18AQ | 120Å | 5u | Dr Maisch beads used in analytical and trap column (bulk packing material)
NC1394928 | ESI SOURCE SOLUTIONS REPROSIL-PUR 120 C18-AQ 5 UM,R15.AQ.0001 | 0 | 1 gr | 253.5 | 0 | Fisher
r13.aq.0001 | 1 g Reprosil-Pur 120 C18-AQ 3 um | 0 | gr | 287.5 | 0 | ESI source solutions | C18AQ | 120Å | 3u | smaller bead size (3 um)
Miscellaneous
06-717-592 | Restek™ Ceramic Scoring Wafers | 1 | 5pk | 57.11 | 57.11 | Fisher
14-513-64SIX | Fisherbrand* Spinbar* Magnetic Micro Stir Bar 6-pack, 1.5 mm x 8 mm | 1 | 6pk | 14.91 | 14.91 | Fisher | one per slurry, but they get easily lost, I'd get 5-10 stirbars, log in to see UW pricing
06-712-122 | Restek™ Scoring Wafer with Handle | 0 | each | 53.11 | 0 | Fisher | alternate product
03-377-299
Note on E3: Note those are list prices, UW pricing may be cheaper, check with your login...
Advancing Proteomics
UWPR

## VanquishNeo_Consumables
[5 empty] | UNIVERSITY of WASHINGTON |  |  | Proteomics Resource
last updated | 2024-04-26
part # | Description | Qty | unit | unit price | total | vendor
NOTE to use UWPR instruments you need to provide autosampler vials, analytical column and trapping column (materials highlighted below), you can use the UWPR packing station to pack your columns.
Highlighted below are consumables routinely used for bottom up proteomics, but you can customize the columns to your needs, check different vendors etc.
VanquishNeo Autosampler vials and caps
03-452-358 | Thermo Scientific™ SureSTART™ 2 mL Polypropylene Snap Top Microvials for <2 mL Samples | 0 | pk of 100 | 15.83 | 0 |  | (log in at fishersci.com for UW pricing)
03-452-381 | Thermo Scientific™ SureSTART™ 11 mm Snap Caps, Level 3 High Performance Applications | 0 | pk of 100 | 33.48 | 0 |  | (log in at fishersci.com for UW pricing) |  | recommended for use with all autosamplers
03-452-550 | Thermo Scientific™ SureSTART™ Total Recovery Glass Screw Top Microvials for <2 mL Samples, Level 3 High Performance Applications 6PSV9TR1 | 0 | pk of 100 | 259.97 | 0 | Fisher
03-452-575 | Thermo Scientific™ SureSTART™ 0.2 mL TPX Screw Top Microvial with Glass Insert for <2 mL Samples, Level 3 High Performance Applications | 0 | pk of 100 | 61.64 | 0 | Fisher
03-452-313 | Thermo Scientific™ SureSTART™ 9 mm Screw Caps, Level 3 High Performance Applications | 0 | pk of 100 | 42.11 | 0 | Fisher
03-452-576 | Thermo Scientific™ SureSTART™ Specification Certified Screw Vial and Cap Kits, Level 3 High Performance Applications 6PK1655 | 0 | pk of 100 | 98.88 | 0 | Fisher
60180P210 | Thermo Scientific™ SureSTART™ WebSeal™ 96-Well Microtiter Plates, Total V-Bottom, Level 2 High-Throughput Applications | 0 | pk of 50 | 472.26 | 0 | Fisher
03-255-008 | Thermo Scientific™ SureSTART™ WebSeal™ 96-Well Deep Well Plates, Round U-Bottom, Level 2 High-Throughput Applications 60180P201B | 0 | pk of 50 | 597.81 | 0 | Fisher
03-252-162 | Thermo Scientific™ SureSTART™ WebSeal™ 96-Well Plate Sealing Mats, 7 mm Diameter, Round, Level 2 High-Throughput Applications, preslit | 0 | pk of 5 | 154.15 | 0 | Fisher
03-252-444 | Thermo Scientific™ WebSeal™ Sealing Tapes with 3 layer no adhesive at cavity area | 0 | pk of 100 | 1409.1 | 0 | Fisher
03-376-618 | Thermo Scientific™ Re-Sealing Tape with 3 layer no adhesive at cavity area | 0 | pk of 25 | 438.65 | 0 | Fisher
03-253-929 | Thermo Scientific™ SureSTART™ WebSeal™ Plate+ 384-Well Microtiter Plates, Square-Rounded V-Bottom, Level 3 High Performance Applications 60180-P340 | 0 | pk of 10 | 553.16 | 0 | Fisher
03-252-439 | Thermo Scientific™ WebSeal™ CLR Silicone Mat, 384 square wells 60180-M150 | 0 | pk of 5 | 154.15 | 0 | Fisher |  | 03-452-358 | 03-452-381 |  | 03-452-550 |  | 03-452-575 |  | 03-452-313 |  | 03-452-576 | 60180P210 | 03-252-444
Analytical and trapping columns
Analytical column fused silica: most common ODxID 360x75 |  | usage ~ 50 cm per column | [5 empty] | different length available: | 10m | 25 m | 50m
1068150019 | Polymicro Flexible Fused Silica Capillary Tubing, Inner Diameter 75µm, Outer Diameter 375µm, TSP075375 | 0 | m | 15 | 0 | Molex / Polymicro | alternate vendor |  | 150 | 325 | 500 | old part number 2000019 |  | http://www.polymicroorders.com |  | http://www.molex.com/molex/products/datasheet.jsp?part=active/1068150019_CAPILLARY_TUBING.xml
50-110-8582 | TSP075375 Flexible Fused Silica Capillary Tubing with Polyimide Coating: 75um ID x 363um OD, spool length of 10m | 1 | 10 m | 190 | 190 | Fisher | (log in at fishersci.com for UW pricing) |  | Search for TSP075375 at the Fisher website to get all the different lengths available
50-110-8602 | TSP075375 Flexible Fused Silica Capillary Tubing with Polyimide Coating: 75um ID x 363um OD, spool length of 25m | 0 | 25 m | 400 | 0 | Fisher | alternate length (log in at fishersci.com for UW pricing)
50-110-7740 | TSP075375 Flexible Fused Silica Capillary Tubing with Polyimide Coating: 75um ID x 363um OD, spool length of 50m. | 0 | 50 m | 610 | 0 | Fisher | alternate length (log in at fishersci.com for UW pricing)
FS-175 | TUBING, FUSED SILICA, 75µm (.003 IN) x 360µm x 2M | 0 | 2m | 127.86 | 0 | Idex/Upchurch | alternate vendor
Beads to pack column | [6 empty] | Chemistry | Pore Size | Particle size
r15.aq.0001 | Reprosil-Pur 120 C18-AQ, 5 um 1g | 1 | 1 gr | 206.6 | 206.6 | ESI source solutions | C18AQ | 120Å | 5u | Dr Maisch beads used in analytical and trap column (bulk packing material)
NC1394928 | ESI SOURCE SOLUTIONS REPROSIL-PUR 120 C18-AQ 5 UM,R15.AQ.0001 | 0 | 1 gr | 253.5 | 0 | Fisher
r13.aq.0001 | 1 g Reprosil-Pur 120 C18-AQ 3 um | 0 | gr | 287.5 | 0 | ESI source solutions | C18AQ | 120Å | 3u | smaller bead size (3 um)
03-255-020 | Thermo Scientific™ PepMap™ Neo Trap Cartridge Holder, PEEK Tubing, & nanoViper™ Fittings | 0 | ea | 557.85 | 0 | fisher | complete kit with nanoViper tubing and union cartridge holder
03-255-018 | Thermo Scientific™ PepMap™ Neo Trap Cartridge | 1 | 3 pk | 487.4 | 487.4 | fisher | PepMap™ Neo 5 µm C18 300 µm X 5 mm Trap Cartridge, 5um 100A partical size, C18 with 15% carbon load
Miscellaneous
06-717-592 | Restek™ Ceramic Scoring Wafers | 1 | 5pk | 57.11 | 57.11 | Fisher
14-513-64SIX | Fisherbrand* Spinbar* Magnetic Micro Stir Bar 6-pack, 1.5 mm x 8 mm | 1 | 6pk | 14.91 | 14.91 | Fisher | one per slurry, but they get easily lost, I'd get 5-10 stirbars, log in to see UW pricing
06-712-122 | Restek™ Scoring Wafer with Handle | 0 | each | 53.11 | 0 | Fisher | alternate product
03-377-299
Note on E3: Note those are list prices, UW pricing may be cheaper, check with your login...
Advancing Proteomics
UWPR

## LCMS_Consumables
[5 empty] | UNIVERSITY of WASHINGTON |  |  | Proteomics Resource
[11 empty] | Column |  | calc. | est. weight
part # | Description | Qty | unit | unit price | total | vendor | Chemistry | Pore Size | Particle size | ProntoSIL Equivalent | dia | length | volume | gr |  | $ per gr | $ per 0.5gr
Autosampler vials and caps
#REF! | #REF! | 1 | pk of 100 | #REF! | #REF! |  | (log in at fishersci.com for UW pricing)
#REF! | #REF! | 1 | pk of 100 | #REF! | #REF! |  | (log in at fishersci.com for UW pricing) |  | recommended for use with all autosamplers
03-452-378 | Thermo Scientific™ SureSTART™ 11 mm Snap Caps, Level 2 High-throughput Applications | 1 | Pack of 100 | 28.22 | 28.22 | Fisher
03-452-549 | Thermo Scientific™ SureSTART™ 1.5 mL Total Recovery Glass Snap Top Microvials for <2 mL Samples, Level 3 High Performance Applications | 1 | pk of 100 | 111.72 | 111.72 |  | (log in at fishersci.com for UW pricing) |  | If you prefer glass vials
01-549-793 | Thermo Scientific™ SureSTART™ 11 mm Snap Caps, Level 2 High-throughput Applications | 1 | pk of 100 | 25.01 | 25.01 |  | (log in at fishersci.com for UW pricing) |  | for use with nanoAcquity only
03-452-517 | Thermo Scientific™ SureSTART™ HPLC and GC Certified Screw Vial and Cap Kits, Level 3 High Performance Applications | 1 | Pack of 100 | 84.91 | 84.91 | Fisher | (log in at fishersci.com for UW pricing) |  | for large sample volume, only use preslit caps on EASYnLC
03-452-531 | Thermo Scientific™ SureSTART™ MSCERT+ Screw Vial and Cap Kits, Level 3 High Performance Applications 6PMCK39TR | 1 | Pack of 100 | 291.28 | 291.28 | Fisher |  |  | for small sample volume
186000384C | Total Recovery Vial Kit w/Screw Cap bonded PTFE/Silicone septa. Pack of 100 | 1 | Pack of 100 | 200.88 | 200.88 | Waters
Analytical and trapping columns
Analytical column fused silica: most common ODxID 360x75 | [11 empty] | min 10 m | 10-24m | 25-49m | 50-99m | 100-249m | 250-499m | 500-999m
1068150019 | Polymicro Flexible Fused Silica Capillary Tubing, Inner Diameter 75µm, Outer Diameter 375µm, TSP075375 | 0 | m | 15 | 0 | Molex / Polymicro | different length available, min 10 m |  |  | http://www.polymicro.com/products/products_capillarytubing.htm | price list pdf | per m | 15 | 13 | 10 | 8 | 7 | 4.75
50-110-8582 | TSP075375 Flexible Fused Silica Capillary Tubing with Polyimide Coating: 75um ID x 363um OD, spool length of 10m | 1 | 10 m | 162 | 190 | Fisher | (log in at fishersci.com for UW pricing)
50-110-8602 | TSP075375 Flexible Fused Silica Capillary Tubing with Polyimide Coating: 75um ID x 363um OD, spool length of 25m | 0 | 25 m | 400 | 0 | Fisher | alternate length (log in at fishersci.com for UW pricing)
50-110-7740 | TSP075375 Flexible Fused Silica Capillary Tubing with Polyimide Coating: 75um ID x 363um OD, spool length of 50m. | 0 | 50 m | 522 | 0 | Fisher | alternate length (log in at fishersci.com for UW pricing)
FS-175 | TUBING, FUSED SILICA, 75µm (.003 IN) x 360µm x 2M | 1 | 2m | 45.44 | 45.44 | Upchurch
other ID, same OD: | [12 empty] | 10-24m | 25-49m | 50-99m | 100-249m | 250-499m | 500-999m
2000023 | TSP100375 fused silica 100ID | 50 | m | 10 | 500 | Polymicro | different length available, min 10 m |  |  | http://www.polymicro.com/products/products_capillarytubing.htm | price list pdf | per m | 15 | 13 | 10 | 8 | 7 | 4.75
2000017 | TSP050375 fused silica 50ID | 50 | m | 10 | 500 | Polymicro | different length available, min 10 m |  |  | http://www.polymicro.com/products/products_capillarytubing.htm | price list pdf | per m | 15 | 13 | 10 | 8 | 7 | 4.75
2000011 | TSP025375 fused silica 25ID | 50 | m | 10 | 500 | Polymicro | different length available, min 10 m |  |  | http://www.polymicro.com/products/products_capillarytubing.htm | price list pdf | per m | 15 | 13 | 10 | 8 | 7 | 4.75
FS-110 | TUBING, FUSED SILICA, 100µm (.004 IN) x 360µm x 2M | 1 | 2m | 45.44 | 45.44 | Upchurch
FS-150 | TUBING, FUSED SILICA, 50µm (.002 IN) x 360µm x 2M | 1 | 2m | 45.44 | 45.44 | Upchurch
FS-120 | TUBING, FUSED SILICA, 20µm (.0008 IN) x 360µm x 2M | 1 | 2m | 45.44 | 45.44 | Upchurch
NC9657134 | Polymicro Technologies Flexible Fused Silica Capillary Tubing 100x375 | 1 | 1m | 25 | 25 | Fisher
NC9575535 | Polymicro Technologies Flexible Fused Silica Capillary Tubing 25x375 | 1 | 1m | 25 | 25 | Fisher
Trap column fused silica: most common ODxID 360x100 |  | re-usable many times, usage ~30-40 cm per trap column
home made kasil frits | https://proteomicsresource.washington.edu/docs/protocols05/Fritted_Fused_Silica.pdf
50-828-816 | Potassium Silicate, Aqueous Soln, 29.8 Deg. Baume, Pfaltz & Bauer No.:P23830-500g | 1 | ea | #REF! | #REF! | Fisher
AC205821000 | Formamide, 99.5%, for analysis, ACROS Organics | 1 | ea | #REF! | #REF! | Fisher
OR
NC0263146 | Next Advance Inc KASIL FORMAMIDE FRIT KIT | 1 | ea | #REF! | #REF! | Fisher | Use instead of Potassium Silicat and Formamide in row 27-28
50-110-7685 | TSP100375 Flexible Fused Silica Capillary Tubing with Polyimide Coating: 100um ID x 363um OD | 1 | 10 m | #REF! | #REF! | Fisher | Search the fisher site for TSP100375 to find all available lengths
50-110-8605 | TSP100375 Flexible Fused Silica Capillary Tubing with Polyimide Coating: 100um ID x 363um OD | 0 | 25 m | #REF! | #REF! | Fisher
50-110-8623 | TSP100375 Flexible Fused Silica Capillary Tubing with Polyimide Coating: 100um ID x 363um OD | 0 | 50 m | #REF! | #REF! | Fisher
premade fritted fused silica:
IF360-75-50-N-5 | IntegraFrit(TM)360 OD /; 75 ID; Self-Pack | 1 | 5pk | 323 | 323 | Scientific Instrument Services
IF360-75-50-N-5 | Self-Pack IntegraFrit Columns | 1 | 5pk | 269.8 | 269.8 | New Objective | call for current price
Miscellaneous
14-513-64 | Fisherbrand* Spinbar* Magnetic Micro Stirring Bars | 1 | each | 3.18 | 3.18 | Fisher
NC9325879 | COLUMN SCRIBE 10/PK | 1 | 10-pack | 38.82 | 38.82 | Fisher
Peptide standards for quality control
Simple peptide standards for LC-MS (xlsx)
NOTE: UWPR users can use the UWPR provided Angiotensin/Neurotensin standard, any other standard should be supplied by the user
Beads to pack column | [6 empty] | Chemistry | Pore Size | Particle size
Dr Maisch beads (bulk material)
r15.aq.0001 | Reprosil-Pur 120 C18-AQ, 5 um 1g | 1 | 1 gr | 206.6 | 206.6 | ESI source solutions | C18AQ | 120Å | 5u | Dr Maisch beads used in analytical and trap column (bulk packing material)
r15.aq.0003 | Reprosil-Pur 120 C18-AQ, 5 um 3g | 0 | 3 gr | 498.32 | 0 | ESI source solutions | C18AQ | 120Å | 5u
r13.aq.0001 | Reprosil-Pur 120 C18-AQ 3 um 1g | 0 | 1 gr | 249.5 | 0 | ESI source solutions | C18AQ | 120Å | 3u
r13.aq.0003 | Reprosil-Pur 120 C18-AQ 3 um 3g | 0 | 3 gr | 614.5 | 0 | ESI source solutions | C18AQ | 120Å | 3u
r124.aq.0001 | Reprosil-Pur 120 C18-AQ 2.4 um 1g | 0 | 1 gr | 349.6 | 0 | ESI source solutions | C18AQ | 120Å | 2.4u
r124.aq.0003 | Reprosil-Pur 120 C18-AQ 2.4 um 3g | 0 | 3 gr | 884.42 | 0 | ESI source solutions | C18AQ | 120Å | 2.4u
r119.aq.0001 | Reprosil-Pur 120 C18-AQ 1.9um 1g | 0 | 1 gr | 464 | 0 | ESI source solutions | C18AQ | 120Å | 1.9u
r119.aq.0003 | Reprosil-Pur 120 C18-AQ 1.9 um 3g | 0 | 3 gr | 1198.3 | 0 | ESI source solutions | C18AQ | 120Å | 1.9u
r35.4e.0001 | Reprosil-Pur 300 C4 5um 1g | 0 | 1 gr | 206.6 | 0 | ESI source solutions | C4 | 300Å | 5u
r35.4e.0003 | Reprosil-Pur 300 C4 5um 3g | 0 | 3 gr | 498.32 | 0 | ESI source solutions | C4 | 300Å | 5u
r35.e8.0001 | Reprosil-Pur 300 C8 5um 1g | 0 | 1 gr | 0 | 0 | ESI source solutions | C8 | 300Å | 5u
r25.aq.0001 | Reprosil-Pur 200 C18-AQ, 5um 1g | 0 | gr | 0 | 0 | ESI source solutions | C18AQ | 200Å | 5u
r15.9g.0001 | Reprosil-Gold C18 120 5 um 1g | 0 | gr | 0 | 0 | ESI source solutions | C18 | 120Å | 5u
rs15.9aq.0001 | Reprospher 100 C18-Aqua 5 μm 1g | 0 | gr | 0 | 0 | ESI source solutions | C18AQ | 100Å | 5u
check out their website or contact them for other packing materials
Prontosil (former Magic) beads (bulk material)
0001F184PS050 | ProntoSIL 120-5-C18 AQ, 5um, Bulk Packing, 1 gram | 0 | 1 gr | 120 | 0 | Mac-Mod.com | C18AQ | 120Å | 5u |  |  | https://www.mac-mod.com/brands/prontosil/prontosil-bulk-media/
0001H184PS050 | ProntoSIL 200-5-C18 AQ, 5um, Bulk Packing, 1 gram | 0 | 1 gr | 120 | 0 | Mac-Mod.com | C18AQ | 200Å | 5u
0001F184PS030 | ProntoSIL 120-5-C18 AQ, 3um, Bulk Packing, 1 gram | 0 | 1 gr | 120 | 0 | Mac-Mod.com | C18AQ | 120Å | 3u
0001H184PS030 | ProntoSIL 200-5-C18 AQ, 3um, Bulk Packing, 1 gram | 0 | 1 gr | 130 | 0 | Mac-Mod.com | C18AQ | 200Å | 3u
0001F184TP022 | ProntoSIL C18 AQ, 120 Å, 2.2 um, Bulk Packing | 0 | 1 gr | 230 | 0 | Mac-Mod.com | C18AQ | 120Å | 2.2u
941120202 | HALO BioClass Peptide ES-C18, 160 Å, 2.0 um, 1 gram, Bulk Packing |  | 1 gr | 255 | 0 | Mac-Mod.com | C18 | 160Å | 2u |  |  | https://www.mac-mod.com/brands/halo/all-halo-bulk-media/halo-bioclass-bulk-media/
942120202 | HALO BioClass Peptide ES-C18, 160 Å, 2.7 um, 1 gram, Bulk Packing |  | 1 gr | 255 | 0 | Mac-Mod.com | C18 | 160Å | 2.7u
945120202 | HALO BioClass Peptide ES-C18, 160 Å, 5.0 um, 1 gram, Bulk Packing |  | 1 gr | 255 | 0 | Mac-Mod.com | C18 | 160Å | 5u
| HALO® BioClass Peptide ES-CN |  |  |  | 0 |  |  |  |  | HALO Peptide ES-CN (2.7 and 5 µm) offers different selectivity and improved retention for polar peptides
| HALO® BioClass Peptide Phenyl-Hexyl |  |  |  | 0 |  |  |  |  | alternate selectivity with HALO 160 Å PHENYL-HEXYL
check out their website or contact them for other packing materials
Prontosil (former Magic) columns (you can unpack a column to get the beads to pack your own column)
0446F184PS050 | ProntoSIL C18 AQ, 4.6 x 33 mm, 5 µm, 120A | 0 | each | 204 | 204 | Mac-Mod.com | C18AQ | 120Å | 5u | Prontosil C18 AQ 5 µm 120 A | 4.6 | 33 | 548.1498 | 0.43978 |  | 514.8973 | 257.4486
0446H184PS050 | ProntoSIL C18 AQ, 4.6 x 33 mm, 5 µm, 200A | 0 | each | 204 | 204 | Mac-Mod.com | C18AQ | 200Å | 5u | Prontosil C18 AQ 5 µm 200 A | 4.6 | 30 | 498.318 | 0.3998 |  | 566.387 | 283.1935
50-900-02477 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 33mm; 5um; 120angstrom | 0 | each | 261.12 | 0 | Fisher (UW price 226.44) | C18AQ | 120Å | 5u | Prontosil C18 AQ 5 µm 120 A | 4.6 | 33 | 548.1498 | 0.43978 |  | 514.8973 | 257.4486
50-900-02478 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 33mm; 5um; 200angstrom | 0 | each | 261.12 | 0 | Fisher (UW price 226.44) | C18AQ | 200Å | 5u | Prontosil C18 AQ 5 µm 200 A | 4.6 | 30 | 498.318 | 0.3998 |  | 566.387 | 283.1935
UW pricing
50-900-02350 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 17mm; 5μm; 120Å | 1 | each | 147.63 | 147.63 | Fisher | C18AQ | 120Å | 5u | Prontosil C18 AQ 5 µm 120 A | 4.6 | 17 | 282.3802 | 0.22655 |  | 651.639 | 325.8195
50-900-02471 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 30mm; 5μm; 120Å | 1 | each | 226.44 | 226.44 | Fisher | C18AQ | 120Å | 5u | Prontosil C18 AQ 5 µm 120 A | 4.6 | 30 | 498.318 | 0.3998 |  | 566.387 | 283.1935
50-900-02477 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 33mm; 5μm; 120Å | 1 | each | 226.44 | 226.44 | Fisher | C18AQ | 120Å | 5u | Prontosil C18 AQ 5 µm 120 A | 4.6 | 33 | 548.1498 | 0.43978 |  | 514.8973 | 257.4486
50-900-02798 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18; AQ; Reversed phase; 5μm; 2.0 x 50mm | 1 | each | 317.46 | 317.46 | Fisher | C18AQ | 120Å | 5u | Prontosil C18 AQ 5 µm 120 A | 4.6 | 50 | 830.53 | 0.66633 |  | 476.4314 | 238.2157
50-900-02901 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18; AQ; Reversed phase; 5μm; 4.6 x 75mm | 1 | each | 345.4 | 345.4 | Fisher | C18AQ | 120Å | 5u | Prontosil C18 AQ 5 µm 120 A | 4.6 | 75 | 1245.795 | 0.99949 |  | 345.5751 | 172.7876
50-900-03054 | Column, HPLC; ProntoSIL; MAC-MOD Analytical; C18 AQ; Reversed-phase; 4.6 x 100mm; 120Å 5μm | 1 | each | 443.63 | 443.63 | Fisher | C18AQ | 120Å | 5u | Prontosil C18 AQ 5 µm 120 A | 4.6 | 100 | 1661.06 | 1.3327 |  | 332.8912 | 166.4456
50-900-03177 | Column, HPLC; ProntoSIL; MAC-MOD Analytical; C18 AQ; Reversed-phase; 4.6 x 150mm; 120Å 5μm | 1 | each | 479.6 | 479.6 | Fisher | C18AQ | 120Å | 5u | Prontosil C18 AQ 5 µm 120 A | 4.6 | 150 | 2491.59 | 1.999 |  | 239.9216 | 119.9608
50-900-03361 | Column, HPLC; ProntoSIL; MAC-MOD Analytical; C18 AQ; Reversed-Phase; 4.6 x 200mm; 120Å 5μm | 1 | each | 539.55 | 539.55 | Fisher | C18AQ | 120Å | 5u | Prontosil C18 AQ 5 µm 120 A | 4.6 | 200 | 3322.12 | 2.6653 |  | 202.4338 | 101.2169
50-900-03362 | Column, HPLC; ProntoSIL; MAC-MOD Analytical; C18 AQ; Reversed-Phase; 4.6 x 250mm; 120Å 5μm | 1 | each | 539.55 | 539.55 | Fisher | C18AQ | 120Å | 5u | Prontosil C18 AQ 5 µm 120 A | 4.6 | 250 | 4152.65 | 3.3316 |  | 161.9471 | 80.9735
50-900-02385 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 17mm; 5μm; 200Å | 1 | each | 178.71 | 178.71 | Fisher | C18AQ | 200Å | 5u | Prontosil C18 AQ 5 µm 200 A | 4.6 | 17 | 282.3802 | 0.22655 |  | 788.8262 | 394.4131
50-900-02472 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 30mm; 5μm; 200Å | 1 | each | 226.44 | 226.44 | Fisher | C18AQ | 200Å | 5u | Prontosil C18 AQ 5 µm 200 A | 4.6 | 30 | 498.318 | 0.3998 |  | 566.387 | 283.1935
50-900-02978 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 50mm; 5μm; 200Å | 1 | each | 393.8 | 393.8 | Fisher | C18AQ | 200Å | 5u | Prontosil C18 AQ 5 µm 200 A | 4.6 | 50 | 830.53 | 0.66633 |  | 590.9995 | 295.4997
50-900-03092 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 75mm; 5μm; 200Å | 1 | each | 450.17 | 450.17 | Fisher | C18AQ | 200Å | 5u | Prontosil C18 AQ 5 µm 200 A | 4.6 | 75 | 1245.795 | 0.99949 |  | 450.3982 | 225.1991
50-900-03258 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 100mm; 5μm; 200Å | 1 | each | 491.59 | 491.59 | Fisher | C18AQ | 200Å | 5u | Prontosil C18 AQ 5 µm 200 A | 4.6 | 100 | 1661.06 | 1.3327 |  | 368.8794 | 184.4397
50-900-03360 | Column, HPLC; ProntoSIL; MAC-MOD Analytical; C18 AQ; Reversed-Phase; 4.6 x 150mm; 200Å 5μm | 1 | each | 539.55 | 539.55 | Fisher | C18AQ | 200Å | 5u | Prontosil C18 AQ 5 µm 200 A | 4.6 | 150 | 2491.59 | 1.999 |  | 269.9118 | 134.9559
50-900-03596 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 200mm; 5μm; 200Å | 1 | each | 600.27 | 600.27 | Fisher | C18AQ | 200Å | 5u | Prontosil C18 AQ 5 µm 200 A | 4.6 | 200 | 3322.12 | 2.6653 |  | 225.2154 | 112.6077
50-900-03597 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 250mm; 5μm; 200Å | 1 | each | 600.27 | 600.27 | Fisher | C18AQ | 200Å | 5u | Prontosil C18 AQ 5 µm 200 A | 4.6 | 250 | 4152.65 | 3.3316 |  | 180.1723 | 90.0862
50-900-02372 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 17mm; 3µm; 120Å | 1 | each | 155.4 | 155.4 | Fisher | C18AQ | 120Å | 3u | Prontosil C18 AQ 3 µm 120 A | 4.6 | 17 | 282.3802 | 0.22655 |  | 685.9358 | 342.9679
50-900-02469 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 30mm; 3μm; 120Å | 1 | each | 226.44 | 226.44 | Fisher | C18AQ | 120Å | 3u | Prontosil C18 AQ 3 µm 120 A | 4.6 | 30 | 498.318 | 0.3998 |  | 566.387 | 283.1935
50-900-02475 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 33mm; 3μm; 120Å | 1 | each | 226.44 | 226.44 | Fisher | C18AQ | 120Å | 3u | Prontosil C18 AQ 3 µm 120 A | 4.6 | 33 | 548.1498 | 0.43978 |  | 514.8973 | 257.4486
50-900-02797 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18; AQ; Reversed phase; 3μm; 2.0 x 50mm | 1 | each | 317.46 | 317.46 | Fisher | C18AQ | 120Å | 3u | Prontosil C18 AQ 3 µm 120 A | 4.6 | 50 | 830.53 | 0.66633 |  | 476.4314 | 238.2157
50-900-02900 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18; AQ; Reversed phase; 3μm; 4.6 x 75mm | 1 | each | 345.4 | 345.4 | Fisher | C18AQ | 120Å | 3u | Prontosil C18 AQ 3 µm 120 A | 4.6 | 75 | 1245.795 | 0.99949 |  | 345.5751 | 172.7876
50-900-03223 | Column, HPLC; ProntoSIL; MAC-MOD Analytical; C18 AQ; Reversed-phase; 4.6 x 100mm; 120Å 3μm | 1 | each | 486.14 | 486.14 | Fisher | C18AQ | 120Å | 3u | Prontosil C18 AQ 3 µm 120 A | 4.6 | 100 | 1661.06 | 1.3327 |  | 364.7899 | 182.3949
50-900-03224 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 125mm; 3μm; 120Å | 1 | each | 486.14 | 486.14 | Fisher | C18AQ | 120Å | 3u | Prontosil C18 AQ 3 µm 120 A | 4.6 | 125 | 2076.325 | 1.6658 |  | 291.8319 | 145.9159
50-900-03359 | ProntoSIL C18 AQ, 4.6 x 150 mm, 3 um, 120A | 1 | each | 539.55 | 539.55 | Fisher | C18AQ | 120Å | 3u | Prontosil C18 AQ 3 µm 120 A | 4.6 | 150 | 2491.59 | 1.999 |  | 269.9118 | 134.9559
50-900-03528 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 200mm; 3μm; 120Å | 1 | each | 583.15 | 583.15 | Fisher | C18AQ | 120Å | 3u | Prontosil C18 AQ 3 µm 120 A | 4.6 | 200 | 3322.12 | 2.6653 |  | 218.7921 | 109.3961
|  | 1 | each |  | 0 | Fisher | C18AQ | 120Å | 3u | Prontosil C18 AQ 3 µm 120 A | 4.6 | 250 | 4152.65 | 3.3316 |  | 0 | 0
50-900-02395 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 17mm; 3μm; 200Å | 1 | each | 186.48 | 186.48 | Fisher | C18AQ | 200Å | 3u | Prontosil C18 AQ 3 µm 200 A | 4.6 | 17 | 282.3802 | 0.22655 |  | 823.123 | 411.5615
50-900-02470 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 30mm; 3μm; 200Å | 1 | each | 226.44 | 226.44 | Fisher | C18AQ | 200Å | 3u | Prontosil C18 AQ 3 µm 200 A | 4.6 | 30 | 498.318 | 0.3998 |  | 566.387 | 283.1935
50-900-02977 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 50mm; 3μm; 200Å | 1 | each | 393.8 | 393.8 | Fisher | C18AQ | 200Å | 3u | Prontosil C18 AQ 3 µm 200 A | 4.6 | 50 | 830.53 | 0.66633 |  | 590.9995 | 295.4997
50-900-03091 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 75mm; 3μm; 200Å | 1 | each | 450.17 | 450.17 | Fisher | C18AQ | 200Å | 3u | Prontosil C18 AQ 3 µm 200 A | 4.6 | 75 | 1245.795 | 0.99949 |  | 450.3982 | 225.1991
50-900-03483 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 100mm; 3μm; 200Å | 1 | each | 559.61 | 559.61 | Fisher | C18AQ | 200Å | 3u | Prontosil C18 AQ 3 µm 200 A | 4.6 | 100 | 1661.06 | 1.3327 |  | 419.9203 | 209.9601
50-900-03643 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 150mm; 3μm; 200Å | 1 | each | 618.46 | 618.46 | Fisher | C18AQ | 200Å | 3u | Prontosil C18 AQ 3 µm 200 A | 4.6 | 150 | 2491.59 | 1.999 |  | 309.3868 | 154.6934
50-900-03674 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 200mm; 3μm; 200Å | 1 | each | 664.65 | 664.65 | Fisher | C18AQ | 200Å | 3u | Prontosil C18 AQ 3 µm 200 A | 4.6 | 200 | 3322.12 | 2.6653 |  | 249.3701 | 124.6851
50-900-03675 | Column, HPLC; MAC-MOD Analytical; ProntoSIL; C18 AQ; 4.6 x 250mm; 3μm; 200Å | 1 | each | 664.65 | 664.65 | Fisher | C18AQ | 200Å | 3u | Prontosil C18 AQ 3 µm 200 A | 4.6 | 250 | 4152.65 | 3.3316 |  | 199.4961 | 99.748
Others:
101182-4605 | 2.2 µm Sepax-Technologies GP-C18 120 Å 4.6×50mm | 1 | each | 480 | 480 | Nestgroup | Tip from Nestgroup: 2.2 µm Sepax-Technologies GP-C18. You will have to unpack a column for 1g of bulk.
50-320-2727 | HPLC Column, Sepax, GP-C18, 2.2um, 120 A 4.6 x 50 mm | 1 | each | 523.2 | 523.2 | Fisher
Alternatively, the pre-packed TARGA®, 3µm C18, capillaries have proven to offer consistent performance at a reasonable $314 price. Higgins Analytical QC's the columns so you know that the starting point for your analysis will always be the same. For longer range studies, I would think that this is something to consider. One can trim the inlet as they plug and the outlet as the chromatograms tail from silica interaction from loss of the polyimide coating of the tubing, to preserve their lifetime. If consistency isn't so important, then packing one's own is a reasonable alternative.
Targa C18
http://www.bischoff-chrom.de/hplc-prontopearl-sub2-tpp-c18-ace-eps-c18-phasen.html
50-753-402 | ProntoPEARL NPP sub2 C18, 4.6x30 mm, 1.5um | 1 | each | 745.5 | 745.5 | MacMod |  | 4.6 | 30 | 498.318 | 0.3998 |  | 1864.6949 | 932.3475
50-753-403 | ProntoPEARL NPP sub2 C18, 4.6x50 mm, 1.5um | 1 | each | 803.25 | 803.25 | MacMod |  | 4.6 | 50 | 830.53 | 0.66633 |  | 1205.4859 | 602.7429
50-753-400 | ProntoPEARL NPP sub2 C18, 4.6x20 mm, 1.5um | 1 | each | 710.85 | 710.85 | MacMod |  | 4.6 | 20 | 332.212 | 0.26653 |  | 2667.039 | 1333.5195
186002972 | XBridge BEH C18 Prep Guard Cartridge, 130Å, 5 µm, 10 mm X 10 mm, | 1 | each | 266 | 266 | waters |  | 10 | 10 | 785 | 0.6298 |  | 422.356 | 211.178
186003064 | XBridge BEH C18 Sentry Guard Cartridge, 130Å, 5 µm, 4.6 mm X 20 mm | 1 | each | 205 | 205 | waters |  | 4.6 | 20 | 332.212 | 0.26653 |  | 769.1398 | 384.5699
BH184PS030 | Bulk Maccel 200-3-C18 AQ, 3um, 200Å, Bulk 0.5g | 1 | each | 47.5 | 47.5 | Nest Group Inc | C18 | 200A | 3u
04A-4396 | Jupiter 4u Proteo 90A, 1 gr | 1 | each | 299 | 299 | Phenomenex | C12 | 90A | 4u
04A-4053 | Jupiter 5 u C18 300A Bulk Packing, 1 gr | 1 | each | 329 | 329 | Phenomenex | C18 | 300A | 5u
06-716-307 | Restek Ultra 5microm Bulk Packing Material Ultra C18 Bulk Packing, pore size: 100Å, carbon load: 20%, endcap: fully endcapped, pH range: 2.5 to 7.5 | 1 | each | 484.71 | 484.71 | Fisher | C18 | 100A | 5u
AT16082 | Adsorbosphere C18 10 U 80A 10g | 1 | 10gr | 308.96 | 308.96 | Fisher | C18 | 80A | 10u
AT16088 | Adsorbosphere C18, 10g 5u | 1 | 10gr | 444.49 | 444.49 | Fisher | C18 |  | 5u
M93881 | EMD CHEMICALS LICRSB SI60 LCH 5UM 10GM | 1 | each | 178.19 | 178.19 | Fisher | si | 60A | 5u
Advancing Proteomics
UWPR